## Slide 2
Hematology Journal Club
Title:
clinical utility of automated blood cell analysis
(New parameters)
Presented by:
Maryam Katoeezadeh
1

## Slide 3
History
Wallace H. coulter
(February 17, 1913 – August 7, 1998)
3

## Slide 4
Abbott Laboratories
Horiba Medical
Siemens Healthcare Diagnostics,Inc
Beckman Corporation
Hematologic Analyzers are produced by many factories

## Slide 5
New Parameters
NRBC
Cellular Hb Concentration Mean (CHCM)
Immature Granulocyte (ImG)
Haematopoietic Progenitor Cells
Immature Reticulocyte Fraction
RBC Fragments ( Shistocytes)
Reticulocyte Index
Malarial Parasites
RHE ( RET – He )

## Slide 6
Principle Of Working
Electrical Impedance (volume)
Light Scattering
Conductivity (Nuclear Volume)
VCS
CHCM

## Slide 7
Reticulocytes
History
The Mid 1800s: Discovery of “Granulated” Erythrocytes
The Late 1800s: Discussions About the Meaning of the Granular Basophilic Filamentous Substance
The Early 1900s: Reticulocytes Are Young Red Cells
The Mid 1900s: Studies on Biochemical Characteristics and Reticulocyte Maturation
DEFINITION OF RETICULOCYTES

## Slide 8
Reticulocytes
HFR : High Fluorescent Retic
MFR : Mid Fluorescent Retic
LFR : Low Fluorescent Retic
IRF : Immature Retic Fraction
IRF : ( HFR + MFR )
RHE ( RET – He , CHr) : Retic Hb Equivalent
Grade I
Grade II & III
Grade IV
IRF

## Slide 11
Retic = 2.13
CHr = 31.3 H
RDW = 14.6 H

## Slide 12
ImG

## Slide 13
RDW
IRF
CHr

## Slide 14
Cell Line
Parameter
Manufacturer/Machine
Reportable Measures
Clinical Use (Yes or No or
Unknown)
IQC
IPF
PDW
MPV
P-LCR

## Slide 15
Evaluation of parameters IRF and IPF as a predictor factor in BMT
Current criteria
Absolute neutrophil count (ANC) > 0.5 × /L
Plt Count > 20 ×
IRF
IPF
IRF
IPF
New indicators

## Slide 16
IRF and ANC as Predictor of Hematopoietic Recovery in Patients with ALL on Remission Induction Chemotherapy

## Slide 17
Screening of hereditary spherocytosis and pyruvate kinase deficiency by automated blood count using erythrocytic and reticulocytic parameters
Hemoglobin level
Reticulocyte count
IRF
MicroR
%HypoHe

## Slide 18
HS
PKD
screening strategy